## Sheet1
To correct bubble flow rate measurements for effects of bubble evaporation (td, Feb 06)
Enter the fields in blue
Results are in red
|  | -18.1973 | w1 | Goff Gratch
Ambient Temperature (C) | 22 | 5.0208 | w2 | Coeff
Ambient Pressure (mb) | 780 | -3.1813e-07 | w3
Ambient RH | 20 | 0.018726 | w4
Bubble flow rate measured (any units) | 20 | 273.15 | T0 | Constants
Flow rate corrected for RH | 19.5832 | 373.15 | Ts
Saturation VP (mb) | 20.3178 | 295.15 | Ambient Temp
Flow rate correction factor | 0.97916 | 1.2643 | Ts/T
|  | 0.79097 | T/Ts
|  | 2.3713 | a
|  | -0.84342 | b
|  | 20.3178 | es
Goff Gratch algorithm for es(water)
w1=-18.19729 : w2=5.0208 : w3=-3.181252E-07 : w4=0.01872646
a = 11.344*(1 - T/Ts) : b = -3.19149*(Ts/T - 1)
es = w1*(Ts/T -1) + w2*log(Ts/T) + w3*(10^a - 1) + w4*(10^b - 1) + log(P0)
es = exp(es)