OPC 40º scattering angle = OPCv, OPCpsc, Newby 		Date ____/_____/_________

Calibration by_____________	Calibration Number _________________

Previous Calibration No. _________________            Instrument ID__________________

Gain--------------------------------High-----------------------------Mid--------------------------Low-------

Channel sizes _____________________________/__________________/__________________

Cal poly sizes/channel______________________/__________________/___________________

Instrument history (attach previous cal sticker here)

___________________________________________________________________________

___________________________________________________________________________

___________________________________________________________________________

___________________________________________________________________________

___________________________________________________________________________

___________________________________________________________________________

___________________________________________________________________________

Supply Voltage_____________________	Pump flow rate _____________L/min or cc/min

Lamp ID__________________________	Lamp voltage_____________ Volts TRMS

No. flights on lamp_____________________	No. flights package _____________

Total cycles (prior to cal) ________________	Total lamp time (prior to cal) _____________hr.

______________________________________________________________________________

Particle /sec (preamp count) begin/end ___________/_________Scope trigger Level ________V

Ratio cable attached to PHA = r0.15/r0.25, r.19/r.30 = Ch1/Ch2, usually

High Gain____________________________________________________________________

Aerosol before coincidence (PMT A & B to function 5, swiches to LS)

PMT A  0._________   0._________   0._________  __________________________

PMT B  0._________   0._________   0._________  __________________________

Aerosol after coincidence (PMT A switch to LS Con)

LSC (A)  0._________   0._________   0._________  __________________________

Background count before coincidence (on filter, PMT A&B function 7 switches to MS) ________

Background after coincidence (PMT B switch to MS Con, A&B function 7)

MSC (B)  0._________   0._________   0._________   0._________   0._________

Mid Gain____________________________________________________________________

Aerosol before coincidence (PMT A & B to function 5, swiches to LS)

PMT A  0._________   0._________   0._________  __________________________

PMT B  0._________   0._________   0._________   __________________________

Aerosol after coincidence (PMT A switch to LS Con)

LSC (A)  0._________   0._________   0._________  __________________________

Background count before coincidence (on filter, PMT A&B function 7 switches to MS) ________

Background after coincidence (PMT B switch to MS Con, A&B function 7)

MSC (B)  0._________   0._________   0._________   0._________   0._________

Additional notes (repairs/replacements/comments)

___________________________________________________________________________

___________________________________________________________________________

___________________________________________________________________________

___________________________________________________________________________

Lamp on time for calibration ______ hr			Total lamp time _________ hr

Lamp cycles for calibration ______			Total lamp cycles __________